## Slide 1
Om Gurubhyo Namaha
PPS – Service – Generator Startup SOP
S000. Opening Slide for PPS – Service – Generator Startup Deck

## Slide 2: S001. About Palco Power Systems and Scott Electric -and a Welcome to Training
Palco Power Systems is a specialized power solutions provider and an authorized KOHLER distributor, serving customers across western Pennsylvania, West Virginia, and western Maryland. Since 1972, Palco has supplied reliable generator systems and power equipment to industrial, commercial, municipal, healthcare, and residential customers who depend on uninterrupted power.
As part of the Scott Electric family since 1993, Palco Power Systems combines deep technical expertise with the broader resources of a leading independent electrical distributor. Our portfolio includes KOHLER industrial, mobile (towable), residential, and portable generator systems; pumps; other power systems and components; Honda portable units; transfer equipment; and related accessories, including ASCO and PSP components.
Over the years, Palco’s territory and responsibilities have grown along with its reputation: • 1972 – Palco becomes an authorized KOHLER distributor in western Pennsylvania. • 1984 – Territory expands to include West Virginia and western Maryland. • 1989 – Area of responsibility further expands to include western New York State. • 1993 – Scott Electric Company acquires Palco. • 2001 – Territory is adjusted with the removal of western New York State.
Most recently, Palco Power Systems was the first Scott Electric division to host a Conference Room Pilot (CRP) for the new Infor CloudSuite software, demonstrating leadership and innovation in how we use technology to support customers and internal operations. This work reflects the dedication of the Palco team—including Tanner Schwartz, Valerie Markish, Tim Drop, Jen Schlegel, and Subi Rajagopalan—along with support from the broader ERP project, Champions, and Executive Sponsors. The management teams at Palco Power Systems and Scott Electric continue to support these efforts by prioritizing training, process improvement, and the successful adoption of the new system.
Welcome to the Palco Power Systems Training Site.
This section of the Scott Electric Training Site is designed to help you build the knowledge and skills needed to support our power systems customers safely, accurately, and efficiently—whether you work in sales, service, parts, rentals, administration, or support. Here you will find guided learning, reference materials, and role-based courses tailored to the work we do every day at Palco: sizing and selecting generators, supporting projects, coordinating installations, servicing equipment, and taking care of customers before, during, and after the sale.
Thank you for investing your time in training. Your commitment to learning and continuous improvement helps keep Palco Power Systems—and Scott Electric as a whole—reliable, responsive, and growing as we continue our customer-focused operations.
S00a. About Palco Power Systems and Scott Electric -and a Welcome to Training

## Slide 3
What
Who
Out side sales
Inside sales
Fax
Email
Phone
Customer Requests Service Or is scheduled for one
Based Type of service SRO (Service Request Order) is Created
Based on Assessment and acceptance from Customer a Service is planned and scheduled
Performs service at the site very rarely is service performed at PALCO
Technician
Parts Personnel
Technicians
Manufacturer’s Guide
Invoicing Clerk
AR
Warranty Processor
Or Service Supervisor/ Manager
Customer details entered checked
Generator information Gathered and verified
Based on serial number all service records are reviewed and current issue is noted
Estimate is created
And acceptance of Service and Payment terms is received
Planned list of Parts added to SRO
Items required for the SRO are delivered to the truck
Tech is scheduled
Technician performs service as planed, notes if a Call back is needed or additional much needed service can be performed at that time
Invoice is processed as per the terms (Credit card/ on account)
Payment Collection
Where
Outside salesman Laptop
Inside Service Create Incident or SRO
On ISM module of CSD, Manufacturers trouble shooting Guide.
CSD Credit card Processing
Based on prevailing Warranty a warranty claim is entered in the Manufacturer’s system
ISM /CSD
Warranty PMA status etc determined
If parts are not carried in stock, they are picked up from Part stores or ordered
Parts in SD and ISM
ISM Tech Mobile
CSD
Service Writers
Coordinator
Supervisor
Manager
Warranty Coverage Verified or Billed accordingly
Payment received and applied
Warranty claim is processed if applicable and applied if accepted else billing is finalized
Tech Mobile on Laptop etc tech Mobile on Tablet
S00b. Palco Power Systems – Service to Cash Work Flow
S002. Palco Power Systems – Service to Cash Work Flow
Notes: .
.
This was updated by SR on 1122 11 23 2025 with input from TS VM and TD
OGN
OGN

## Slide 4
Draft completed on 02 15 2025 19 10
Train Slide updated by TS VM SR TD MS
25 11 12 1203
Represents a Sub SOP
It is important to understand that every action in any part of this has an impact on other areas so it behooves each and one of us to practice daily and diligently as trainees in other areas need your input to train .
Fin. plan to Report
Count to Adjust
Procure to Pay
Quote to Cash
1.Quote to Service Order
2.Service order to Picking Scheduling
3.Picking/ Serving to Invoicing
4.Invoicing to Cash
5.Return to Credit
Replenishment Re com. to Pay
Physical Cycle Count to Update
Month end Processing
The creator of this slide appreciates the Infor System’s Process Intelligence which became the basis for process creation and verification and finally the training System
S003. Pictorial representation of Quote/ Service Request to Cash similar to Quote to Cash - At PPS Service
Notes: .
This is a static slide to introduce the user to the overall picture
OGN

## Slide 5
Draft completed on 05 12 2025 19 10
Train Slide updated by TS VM SR TD MS
25 12 28 0800
Indicates a separate Sub or Subsequent process (if Present)
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
The creator of this slide appreciates the Infor System’s Process Intelligence which became the basis for process creation and verification and finally the training System
M1. Generator Startup - At PPS Service
Notes: .
OGN

## Slide 6: S1. Customer Calls For Start Up– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 7: D1. Genset Sold by Palco – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 8: Y1. Yes Genset Sold by Palco – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 9: D2. Is Original Order Known– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 10: Y2. Order Number is known– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 11: S2. Perform Order Enquiry – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 12: S3. Verify Payment Status – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 13: S4. Create Startup Incident – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 14: S8. Add Startup Notes– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 15: S9. Add Lines– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 16: S10. Schedule startup – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 17: S11. Print Pick ticket– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 18: S12. Shipping Feed back – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 19: S13. Assigned Tech Performs Start-up– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
e
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 20: S14. Register Unit– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 21: S998a. You have come to the end of the path selected in the – Generator Startup Process
Base Created by TS VM TSD KC and BW 06 09 2025
Note this Indicates a Sub SOP
Ever heard the phrase “Practice makes perfect ? – if you had not then now you have !
The Management and your project team would like you to practice this and other processes so that the Go live is smooth or if your new to the company or are new to the role you can get proficient in the training environment As one becomes more proficient in this system it behooves us to share that knowledge and help other so the Company can achieve its destiny
Train Slide updated by TS VM SR TD MS
25 12 28 0800
Notes: .
Making of the master and creating the sub slides for the transition story took 1 hour on a Saturday
OGN

## Slide 22: N2. Original Sale Order Not Known – Startup SOP
Draft Started 06 10 2025
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Train Slide updated by TS VM SR TD MS
25 12 28 0800
Note this Indicates a Sub SOP

## Slide 23: S5. Order Enquiry Using Serial Number– Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 24: S3a. Verify Payment Status – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 25: S998b. You have come to the end of the path selected in the – Generator Startup Process
Base Created by TS VM TSD KC and BW 06 09 2025
Note this Indicates a Sub SOP
Ever heard the phrase “Practice makes perfect ? – if you had not then now you have !
The Management and your project team would like you to practice this and other processes so that the Go live is smooth or if your new to the company or are new to the role you can get proficient in the training environment As one becomes more proficient in this system it behooves us to share that knowledge and help other so the Company can achieve its destiny
Train Slide updated by TS VM SR TD MS
25 12 28 0800
Notes: .
Making of the master and creating the sub slides for the transition story took 1 hour on a Saturday
OGN

## Slide 26: N1. No Gen Set Not sold by Palco – Startup SOP
Draft Started 06 10 2025
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Train Slide updated by TS VM SR TD MS
25 12 28 0800
Note this Indicates a Sub SOP

## Slide 27: S6. Create New Unit – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 28: S7. Create Chargeable SRO – Startup SOP
Process Being Presented
S1. Customer Calls For Start-Up
D1
Y
N
Q1.Did We Sell The Generator?
S7. Service Order Process at charge SOP
S2. Order Inquiry
S4. Create Start-Up Incident
S8. Add Start-Up Notes
S9. Add Line
S10. Convert to SRO and Schedule
S11. Print Pick Ticket
S12. Shipping Feedback Ship
S13. Tech Performs Start-Up
S14. Register A Unit
D2
Y
N
Do You Know The Original Order #?
S5. Order Inquiry Using Serial Number
S6. Create A New Unit SOP
S3. Check With AR To Verify Payment In Full
Draft completed on 05 12 2025 19 10
Indicates a separate Sub or Subsequent process (if Present)
Train Slide updated by TS VM SR TD MS
25 12 28 0800

## Slide 29: S998. You have come to the end of the path selected in the – Generator Startup Process
Base Created by TS VM TSD KC and BW 06 09 2025
Note this Indicates a Sub SOP
Ever heard the phrase “Practice makes perfect ? – if you had not then now you have !
The Management and your project team would like you to practice this and other processes so that the Go live is smooth or if your new to the company or are new to the role you can get proficient in the training environment As one becomes more proficient in this system it behooves us to share that knowledge and help other so the Company can achieve its destiny
Train Slide updated by TS VM SR TD MS
25 12 28 0800
Notes: .
Making of the master and creating the sub slides for the transition story took 1 hour on a Saturday
OGN

## Slide 30
Thank you for completing this module on Generator Startup Procedure SOP . The ERP Project Team and Training Group appreciate your time, attention, and commitment to learning our new systems and processes.
To be confident in your day-to-day work—and to avoid surprises at Go Live or when you move into a new role—please set aside time to practice this SOP in the training environment. Working through realistic examples several times will help you: • Follow the steps in the correct sequence • Understand what the key fields and options do • Reduce errors when you work in the live system • Handle real customer and business situations with confidence
The training environment is the safest place to practice, ask questions, and learn from mistakes—before they affect real orders, inventory, equipment, or customers. The more you use the training environment now, the smoother your work will be later in the live system.
The creator of this slide appreciates the Infor System’s Process Intelligence which became the basis for process creation and verification and finally the training System
Train Slide updated by TS VM SR TD MS
25 12 28 0800
S999. You have successfully completed this SOP on Generator Startup at PPS
Notes: .
Current thoughts as on 02 13 2025 are
that all orders are entered as quotes this way the stock availability can be determined and the sourcing function used when needed (need to see how demand is being booked) triggered by a review of fulfillment order and forms
Current thoughts as on 02 13 2025 are
List various Sales order scenarios
Stock orders
Non stock order
Storage orders
Lot priced VA orders
Blanket orders
Shopping list Wire orders
OGN